Basic Functionality of Oscilloscopes:

- Display waveforms (Live)

- Capture waveforms (for analysis)

- Trigger Control (Detect change)

- Measuring multiple parameters (Like frequency, average current/ voltage….)

- Decoding (Information stored in waveform)

Basic Controls: When we look at an oscilloscope we see:

- Display

- Input channels

- Vertical controls

- Horizontal controls

- Trigger control

- Multifunction buttons

Probes: